## Slide 1: Biomagnetic Imaging Standards: Current Phantoms
Fiducial
array
Slice
profile
inset
Proton density
array
T2 array
T1 array
Resolution
inset
NIST group Michael Boss, Karl Stupic, Katy Keenan, and Stephen Russek
Wide range of diffusion
NIST/ISMRM system phantom
NIST/RSNA/NCI diffusion phantom
NIST/UCSF/NCI system phantom

## Slide 2: NIST’s Role in MRI: to provide
Long-term support of MRI phantoms,
SI-traceability
Connection of MRI measurements to primary physical measurements
Understand errors and variability